## Gas
GAS UTILITY
DETAIL TRIAL BALANCE
PLANT IN SERVICE
2012-06-30
[5 empty] | GENERAL | GENERAL
|  |  | PROPERTY | PROPERTY | LEDGER | LEDGER
ACCOUNT | LGFS |  | RECORDS- | RECORDS- | 3040-3980 | 1580/1581 |  | Total
NUMBER | NUMBER | DESCRIPTION | DETAIL | CONTROL | Old Accounts | New Accounts |  | G/L
304.00 | 3040 | Land and Land Rights |  | 219199.85 | 219199.85 |  |  | 219199.85
.02 |  | Land and Land Rights | 219199.85 |  |  |  |  | 219199.85
305.00 | 3050 | Structures and Improvements |  | 895942.95 | 895942.95 | 0 |  | 895942.95
.02 |  | Propane Air Plant-Cardwell Road | 510748.1 |  |  |  |  | 510748.1
.03 |  | Works and Station Structures-Production | 349975.85 |  |  |  |  | 349975.85
.04 |  | Moore Street Holder and Wise Street | 35219 |  |  |  |  | 35219
307.00 | 3070 | Electric Generating and Operating Equipment |  | 110244.67 | 110244.67 | 0 |  | 110244.67
.02 |  | Fulton Gas Works-Emergency Standby | 6681.71 |  |  |  |  | 6681.71
.03 |  | Electric Power Supply-Fulton | 38595.81 |  |  |  |  | 38595.81
.04 |  | Cardwell Road Propane Plant | 64967.15 |  |  |  |  | 64967.15
311.00 | 3080 | Liquefied Petroleum Gas Equipment |  | 881933.33 | 881933.33 | 0 |  | 881933.33
.03 |  | Cardwell Road Propane Plant | 881933.33 |  |  |  |  | 881933.33
313.00 | 3132 | Other Gas Generating Equipment |  | 9010 | 9010 | 0 |  | 9010
.02 |  | Oil Storage | 9010 |  |  |  |  | 9010
320.00 | 3090 | Yard Connections and Miscellaneous Equipment |  | 88218.7 | 88218.7 | 0 |  | 88218.7
.02 |  | Production Plant Yard Connections | 59383.57 |  |  |  |  | 59383.57
.03 |  | Fire Protection Equipment | 2523.1 |  |  |  |  | 2523.1
.04 |  | Laboratory Equipment | 14013.67 |  |  |  |  | 14013.67
.05 |  | Tools and Shop Equipment | 12298.36 |  |  |  |  | 12298.36
374.00 | 3740 | Land and Land Rights-Distribution Plant |  | 18544.78 | 18544.78 | 0 |  | 18544.78
.02 |  | Distribution Plant | 18544.78 |  |  |  |  | 18544.78
375.00 | 3750 | Structures and Improvements |  | 1624545.66 | 1624545.66 | 0 |  | 1624545.66
.02 |  | Structures-Distribution | 62837.58 |  |  |  |  | 62837.58
.03 |  | East Gate Station | 11087.56 |  |  |  |  | 11087.56
.04 |  | Huguenot Road--South Gate Station | 226774.43 |  |  |  |  | 226774.43
.05 |  | Northgate Station | 744911.27 |  |  |  |  | 744911.27
.06 |  | Jeff Davis Natural Gas Fueling Station | 144633.01 |  |  |  |  | 144633.01
.07 |  | Parkline Building | 434301.81 |  |  |  |  | 434301.81
.08 |  | James River Petroleum Gas Fueling Station | 0 |  |  |  |  | 0
376.00 | 3760 | Transmissions and Distribution Mains |  | 131902441.81 | 131902441.81 | 64339578.94 |  | 196242020.75 | 152135470.213 | 44106550.537
.04 |  | 2" Main and Under | 40864552.99 |  |  | 22932911.51 |  | 63797464.5 | 8955715.35
.05 |  | 3" Mains | 856822.45 |  |  | 18785.04 |  | 875607.49 | 20772
.06 |  | 4" Mains | 26238877.58 |  |  | 11462634.35 |  | 37701511.93 | 4538056.96
.07 |  | 6" Mains | 22819351.87 |  |  | 9812723.64 |  | 32632075.51 | 3911925.36
.08 |  | 8" Mains | 17586024.26 |  |  | 9826397.61 |  | 27412421.87 | 2955721.38
.10 |  | 10" Main | 672034.47 |  |  | 92663.36 |  | 764697.83 | 49359.22
.11 |  | 12" Main | 11796341.97 |  |  | 10182440.06 |  | 21978782.03 | 7437466.78
.13 |  | 14" Mains | 1377047.37 |  |  |  |  | 1377047.37
.14 |  | 16" Mains | 4963830.21 |  |  | 9510.59 |  | 4973340.8 | 9510.59
.15 |  | 20" Mains | 213519.24 |  |  | 1512.78 |  | 215032.02 | 1512.78
.16 |  | 24" Mains | 9747.47 |  |  |  |  | 9747.47
.17 |  | Pressure Regulation Devices | 3554.37 |  |  |  |  | 3554.37
.18 |  | 18" Mains | 2100000 |  |  |  |  | 2100000
.20 |  | 2" and Under Service Headers | 1280048.59 |  |  |  |  | 1280048.59
.22 |  | 4" Service Headers | 843894.52 |  |  |  |  | 843894.52
.23 |  | 6" Service Headers | 276794.45 |  |  |  |  | 276794.45
378.00 | 3780 | Measuring and Regulating Equipment |  | 4835413.8 | 4835413.8 | 286937.88 |  | 5122351.68 | 5122351.68
.02 |  | 3" and Under Regulators | 178050.51 |  |  |  |  | 178050.51
.21 |  | 4" Regulators | 2465098.15 |  |  |  |  | 2465098.15
.22 |  | 4" Dual Regulators | 137473.81 | 0 | 0 | 0 |  | 137473.81
.59 |  | 6" lbs. to inches Regulators | 1052862.45 |  |  |  |  | 1052862.45
.60 |  | 6" x 6" Regulators | 203079.64 |  |  |  |  | 203079.64
.74 |  | 8" x 8" Regulators | 119140.55 |  |  |  |  | 119140.55
.78 |  | Telemetric Pressure | 10223.42 |  |  |  |  | 10223.42
.83 |  | Pressure Indicator | 821.01 |  |  |  |  | 821.01
.84 |  | Relief Valve (No Regulator) | 41777.59 |  |  |  |  | 41777.59
.85 |  | Gauges and Mountings | 295.51 |  |  |  |  | 295.51
.86 |  | Storage Plant Yard Connections | 16884.96 |  |  |  |  | 16884.96
.88 |  | 12" Valves | 104123.98 |  |  | 286937.88 |  | 391061.86
.89 |  | Odorizing Equipment | 8481.31 |  |  |  |  | 8481.31
.90 |  | Yard Piping | 5676 |  |  |  |  | 5676
.91 |  | HP line Regulator | 45481.76 |  |  |  |  | 45481.76
.92 |  | HP line Regulator | 8282.57 |  |  |  |  | 8282.57
.93 |  | Line Regulators | 1667.23 |  |  |  |  | 1667.23
.94 |  | HP Line Regulators | 1018.15 |  |  |  |  | 1018.15
.95 |  | Pressure Recording Gauges | 13590.92 |  |  |  |  | 13590.92
.96 |  | District & Regulator Station | 315960.49 |  |  |  |  | 315960.49
.98 |  | District Station | 105423.79 |  |  |  |  | 105423.79
379.00 | 3790 | Measuring and Regulating Equipment-- |  | 620646.29 | 620646.29 | 0 |  | 620646.29 | 620646.29
City Gate Check Stations
.02 |  | East Gate Station | 27958.03 |  |  |  |  | 27958.03
.03 |  | Regulators--Stock Card | 12.63 |  |  |  |  | 12.63
.04 |  | Odorizers | 11875.87 |  |  |  |  | 11875.87
.05 |  | Cleaners, Scrubbers, Metering equipment | 28598.76 |  |  |  |  | 28598.76
.06 |  | Regulators ( W. Gate & RPE ) | 77923.04 |  |  |  |  | 77923.04
.07 |  | West Gate - 12" Valve(s) | 9491.29 |  |  |  |  | 9491.29
.08 |  | West Gate - Becker Gas Supply System | 98214.22 |  |  |  |  | 98214.22
.09 |  | West Gate - Instrumentation & Control Equipment | 122876.98 |  |  |  |  | 122876.98
.10 |  | West Gate - Orifice Runs | 71838.73 |  |  |  |  | 71838.73
.11 |  | West Gate - Odorant System | 35712.71 |  |  |  |  | 35712.71
.12 |  | West Gate - Ball Valves | 136144.03 |  |  |  |  | 136144.03
380.00 | 3800 | Services |  | 99857473.34 | 99857473.34 | 68413745.48 |  | 168271218.82
.03 |  | Meter Installations--Hexagrams 'LOS' Program | 623615.59 |  |  |  |  | 623615.59
|  | "LOS" Program | [5 empty] | 0
.04 |  | 2" and Under Services | 96937396.78 |  |  | 68137586.06 |  | 165074982.84
.05 |  | 3" Services | 96786.58 |  |  | 26163.48 |  | 122950.06
.06 |  | 4" Services | 1502696.31 |  |  | 181392.27 |  | 1684088.58
.07 |  | 6" & 8" Services | 539637.6 |  |  | 67844.72 |  | 607482.32
.08 |  | 12" Services | 18479.96 |  |  | 758.95 |  | 19238.91
.10 |  | Private Property Lights-Installation Costs | 61054.55 |  |  |  |  | 61054.55
.11 |  | Type I & Type II Lamps--Sidewalk | 72567.69 |  |  |  |  | 72567.69
.13 |  | Type III Lamps-Sidewalk (Historical) | 5238.28 |  |  |  |  | 5238.28
381.00 | 3810 | Consumer Meters |  | 18483898.02 | 18483898.02 | 5159393.38 |  | 23643291.4 | 23643291.4
.02 |  | 3 LT or 2B 80 R80 | 4367.67 |  |  |  |  | 4367.67
.03 |  | 5 Lite Tin Case Meters | 30726.03 |  |  |  |  | 30726.03
.04 |  | 10 LT Tin Case Meters | 6536.89 |  |  |  |  | 6536.89
.05 |  | 20 LT Tin Case Meters | 3951.22 |  |  |  |  | 3951.22
.06 |  | 30 LT Tin Case Meters | 2985.53 |  |  |  |  | 2985.53
.07 |  | 45 LT Tin Case Meters | 163675.7 |  |  |  |  | 163675.7
.09 |  | 150 LT Tin Case Meters | 6268.5 |  |  |  |  | 6268.5
.10 |  | 100 LT Tin Case Meters | 8168.41 |  |  |  |  | 8168.41
.11 |  | 1-A Sprague | 466487.26 |  |  |  |  | 466487.26
.12 |  | Sprague 2A Iron Case Meters | 804.57 |  |  |  |  | 804.57
.13 |  | Sprague 3A Case Meters | 207624.92 |  |  | 689117.1 |  | 896742.02
.14 |  | #1000 Sprague/ 5A Sprague Meters | 607052.92 |  |  | 266070.43 |  | 873123.35
.15 |  | AAT-30 Turbo Auto-Adjust | 5000 |  |  |  |  | 5000
.16 |  | Sprague O Iron Case Meters | 50 |  |  |  |  | 50
.17 |  | #175 Lancaster Meters or National | 99473.96 |  |  |  |  | 99473.96
.18 |  | 25 C Tinned Steel Case Meters | 179.15 |  |  |  |  | 179.15
.19 |  | # AL 5000 Gas Meters | 238105.6 |  |  | 262014.6 |  | 500120.2
.20 |  | #240 Comb. Meters | 3455 |  |  |  |  | 3455
.21 |  | 250 B Meter | 56887.35 |  |  |  |  | 56887.35
.22 |  | 500 B Meter | 3096.68 |  |  |  |  | 3096.68
.23 |  | 175 Rockwell,R-200 Rockwell, 175 A Superior | 3428786.37 |  |  | 2519778.67 |  | 5948565.04
.24 |  | 35 B Meter, 750 Rockwell | 557851.68 |  |  | 272864.46 |  | 830716.14
.25 |  | #5000 Rockwell | 1133564.6 |  |  | 90202.31 |  | 1223766.91
.26 |  | #10000 Rockwell | 812686.8 |  |  | 292228.62 |  | 1104915.42
.27 |  | Series "G" Turbo | 1934.21 |  |  |  |  | 1934.21
.28 |  | TP-4, 2" Rockwell Turbometers | 923.34 |  |  |  |  | 923.34
.29 |  | TPL-9, 3" Rockwell | 40944.39 |  |  | 4023.32 |  | 44967.71
.30 |  | T-18 4" Turbometer | 110017.98 |  |  | 53233.93 |  | 163251.91
.31 |  | 12" Turbometer | 12511.65 |  |  |  |  | 12511.65
.32 |  | 6" T-30 Turbometer | 58878.99 |  |  | 14757.6 |  | 73636.59
.33 |  | T-60 8" Turbometers | 27650.96 |  |  | 43229.55 |  | 70880.51
.34 |  | Connersville 4 x 12 Iron Meters | 583.12 |  |  |  |  | 583.12
.35 |  | RM 5000 Meter | 37053.72 |  |  | 7753.36 |  | 44807.08
.36 |  | #4-Emco | 93786.8 |  |  |  |  | 93786.8
.37 |  | Emco 4 1/2 Iron case | 16807.98 |  |  |  |  | 16807.98
.38 |  | Emco 5 Iron case | 12335.49 |  |  |  |  | 12335.49
.39 |  | Electrocorrectors | 1041759.01 |  |  | 347306.07 |  | 1389065.08
.40 |  | RM 2000 Meter Rotary | 10289.03 |  |  | 7639.34 |  | 17928.37
.41 |  | Metric Base Pressure Index BR-60 | 10958.13 |  |  |  |  | 10958.13
.42 |  | Romet 1000 | 36434.76 |  |  | 209903.2 |  | 246337.96
.43 |  | Romet 1500 | 40927.58 |  |  | 8082.69 |  | 49010.27
.44 |  | Roots Rotary # 3M125 | 35699.04 |  |  |  |  | 35699.04
.45 |  | #3000 Rotary Gas Meters | 89472.52 |  |  | 6177.65 |  | 95650.17
.46 |  | #7000 Rotary Gas | 32806.88 |  |  |  |  | 32806.88
.47 |  | Hexagram Modules | 1345432.44 |  |  |  |  | 1345432.44
.48 |  | AMR Automatic Meter System | 7578903.19 |  |  | 65010.48 |  | 7643913.67
383.00 | 3830 | House Regulators |  | 1468841.46 | 1468841.46 | 391827.2 |  | 1860668.66
.02 |  | 3/4" x 3/4" Type KR | 493001.95 |  |  | 30797.09 |  | 523799.04
.03 |  | 1" Ejector | 157539.83 |  |  |  |  | 157539.83
.04 |  | 2" #441 Commercial Regulators | 60232.66 |  |  | 1959.3 |  | 62191.96
.05 |  | 1 1/4" x 1 1/4" Type KR | 107229.4 |  |  | 63694.19 |  | 170923.59
.06 |  | 1 1/2" x 1 1/2" Type KR | 23818.86 | 0 | 0 | 0 |  | 23818.86
.07 |  | 1 1/2" Regulator | 8630.97 |  |  |  |  | 8630.97
.08 |  | 2" Regulator | 194513.46 |  |  | 43903.47 |  | 238416.93
.09 |  | 3" regulator | 1197 |  |  |  |  | 1197
.10 |  | 2" x 2" Regulators | 79484.09 |  |  |  |  | 79484.09
.11 |  | 3" x 3" | 1265.56 |  |  |  |  | 1265.56
.12 |  | 4" Regulator | 14256.78 |  |  |  |  | 14256.78
.13 |  | 6" Line regulator | 18611.64 |  |  |  |  | 18611.64
.14 |  | 1" Regulator | 186751.27 |  |  | 200377.68 |  | 387128.95
.15 |  | 2" lbs. to Inches actual flow regulators | 44321.82 |  |  | 49252.31 |  | 93574.13
.16 |  | 3" lbs. to Inches actual flow regulators | 5179.74 |  |  | 87.23 |  | 5266.97
.17 |  | 4" lbs. to Inches actual flow regulators | 14745.6 |  |  |  |  | 14745.6
.18 |  | 6" lbs. to Inches actual flow regulators | 11354.4 |  |  |  |  | 11354.4
.19 |  | 2" lbs. to lbs. actual flow regulators | 7679.48 |  |  |  |  | 7679.48
.20 |  | 3" lbs. to lbs. actual flow regulators | 4060 |  |  | 1601.77 |  | 5661.77
.21 |  | 4" lbs. to lbs. actual flow regulators | 23222.15 |  |  | 154.16 |  | 23376.31
.22 |  | 6" lbs. to lbs. actual flow regulators | 11744.8 |  |  |  |  | 11744.8
385.00 | 3850 | Industrial Measuring and Regulating Equipment |  | 438898.93 | 438898.93 | 0 |  | 438898.93
.02 |  | Reynolds Metal at 4th and Bainbridge | 3785.92 |  |  |  |  | 3785.92
.03 |  | James River Paper Co.-Tredgear St. | 4163.22 |  |  |  |  | 4163.22
.04 |  | MCV Boiler Plant & RPE PLANT | 340178.43 |  |  |  |  | 340178.43
.05 |  | Allen Industries at Terminal Road | 2294.87 |  |  |  |  | 2294.87
.06 |  | Natural Gas Gate Stations | 86618.49 |  |  |  |  | 86618.49
.07 |  | 1098 EGR Gas Regulator | 1858 |  |  |  |  | 1858
390.00 | 3900 | Structures and Improvements |  | 208811.43 | 208811.43 | 0 |  | 208811.43
.02 |  | Structures and Improvements | 208811.43 |  |  |  |  | 208811.43
395.00 | 3951 | Laboratory Equipment |  | 4920.57 | 4920.57 | 0 |  | 4920.57
.02 |  | Gas Testers and Indicators | 4751.67 |  |  |  |  | 4751.67
.03 |  | Potentiometers | 168.9 |  |  |  |  | 168.9
397.00 | 3970 | Communications Equipment |  | 7640.13 | 7640.13 | 0 |  | 7640.13
.02 |  | Radios, Intercoms, etc. | 7640.13 |  |  |  |  | 7640.13
398.00 | 3980 | Miscellaneous Equipment |  | 472882.93 | 472882.93 | 0 |  | 472882.93
.02 |  | Miscellaneous Equipment | 472882.93 |  |  |  |  | 472882.93
101.00 |  | Total Plant in Service | 262149508.65 | 262149508.65 | 262149508.65 | 138591482.88 |  | 400740991.53
|  |  | =============== | =============== | = | = |  | =
|  |  |  | 0 |  | 138591482.88 | TB
Trial Balance 2012
Account#
|  |  | 1580 |  | 1336861.62
|  | 0 | 1581 |  | 137254621.26
138591482.88
|  |  | 3040 |  | 219199.85
|  |  | 3050 |  | 895942.95
|  |  | 3070 |  | 110244.67
|  |  | 3080 |  | 881933.33
|  |  | 3090 |  | 88218.7
|  |  | 3132 |  | 9010
|  |  | 3430 |  | 1056.51
|  |  | 3740 |  | 18544.78
|  |  | 3750 |  | 1624545.66
|  |  | 3760 |  | 131902441.81
|  |  | 3780 |  | 4835413.8
|  |  | 3790 |  | 620646.29
|  |  | 3800 |  | 99857473.34
|  |  | 3810 |  | 18483898.02
|  |  | 3820 |  | 0
|  |  | 3830 |  | 1468841.46
|  |  | 3840 |  | 0
|  |  | 3850 |  | 438898.93
|  |  | 3900 |  | 208811.43
|  |  | 3951 |  | 4920.57
|  |  | 3970 |  | 7640.13
|  |  | 3980 |  | 472882.93
262150565.16
|  |  | 3430 |  | -1056.51
262149508.65
400740991.53