## CMT Meter Test Cost
Large Volume Gas Meter Testing
Weighted Average Minutes/Unit | 322.8
Weighted Average CMT Labor Rate/Hr. | 17.5217
CMT Labor Cost/Unit | 5656.0088
35% Benefit Overhead | 1979.6031
Fully Loaded CMT Labor Cost/Gas Meter Test | 7653.1336
Large Volume Water Meter Testing
Weighted Average Minutes/Unit | 312
Weighted Average CMT Labor Rate/Hr. | 17.5217
CMT Labor Cost/Unit | 5466.7743
35% Benefit Overhead | 1913.371
Fully Loaded CMT Labor Cost/Water Meter Test | 7380.1453
Footnotes Gas and Water:
Excludes hourly vehicle overhead operating costs.

## GWST Meter Change Cost
Average Meter Change Minutes/Unit | 52.17
Weighted Average Cost/GWST | 16.81
Weighted Average Labor Cost/Unit | 14.6163
35% Benefit Overhead | 5.1157
Fully Loaded GWST Labor Cost/eter Change | 19.732
Footnotes:
Excludes hourly vehicle overhead operating costs.

## Cost Per Meter Read
Total FY12 O&M Costs Activity 9160 | 940763
Total Meters Read in FY12 | 2180306
Average Cost per Meter Read | 0.43148
Footnotes:
O&M is preliminary close number for Activity 9160 on 8/6/2012.

## CMT Resource Requirement
Gas Meter Program
| # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
Age Based | 2591
CMT | 525 | 320 | 168000 | 2 | 336000
GWST | 2066 | 43 | 88838 | 1 | 88838
Revenue Risk Based | 340
Interval | # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
1) 6 mos. | 140 | 320.4 | 89712 | 2 | 179424
1) 12 mos. | 200 | 322.8 | 64560 | 2 | 129120
Subtotal-Gas |  |  |  |  | 308544
FTE Equivalent |  |  |  |  | 4
| # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
2) Sample Based | 2011 | 43 | 86473 | 1 | 86473
3) Quality Assurance Based | 170 | NA | NA | NA | NA
Footnotes:
1) Tasks to be performed during each inspection (gas):
Meter module replacement
Calibration of Mercury Corrector
Battery Change of Mercury Corrector
Valve Operability
Lubricate Valves as needed
Field Test Diaphragm Meters
Atmospheric Corrosion Monitoring
| Test ERT |  |  |  |  | Low |  | High | Tot. Low | Tot. High
6 mos. | Range of Effort: |  | 30% | 42 | Turbos | 120 | to | 360 | 5040 | 15120
|  |  | 70% | 98 | Diaphragm | 180 | to | 360 | 17640 | 35280
| Assume 80% worst case/20% best case in year 1 |  |  |  | # Meters | Min/Unit | Tot. Min.
|  |  |  | Turbo Best | 8.4 | 120 | 1008
|  |  |  | Turbo Worst | 33.6 | 360 | 12096
|  |  |  | Diaphragm Best | 19.6 | 180 | 3528
|  |  |  | Diaphragm Worst | 78.4 | 360 | 28224
|  |  |  | Total Minutes | 140 |  | 44856
[5 empty] | WAVG Min/Unit |  | 320.4
Determine Tools and Equipment once FTEs determined.
12 mos. | Range of Effort |  | 10% | 20 | Turbos | 120 | to | 360
|  |  | 90% | 180 | Diaphragms | 180 | to | 360
| Assume 80% worst case/20% best case in year 1 |  |  |  | # Meters | Min/Unit | Tot. Min.
|  |  |  | Turbo Best | 4 | 120 | 480
|  |  |  | Turbo Worst | 16 | 360 | 5760
|  |  |  | Diaphragm Best | 36 | 180 | 6480
|  |  |  | Diaphragm Worst | 144 | 360 | 51840
|  |  |  | Total Minutes | 200 |  | 64560
[5 empty] | WAVG Min/Unit |  | 322.8
Gas Meter Program
Footnotes (cont):
2) Minutes of worked based upon weighted average of actual minutes of work for gas meter
changes in Fys 04-06. This work is already performed by GWSTs and will not be incremental to our staff model.
Also, there is no CMT gas sample-based because anything over 700CFH will be changed to 415CFH during
the aged-based meter changeouts in year one.
Standard Unit Time (min). | 43 | Weighted average from completed meter change order history from Broadband Program analysis. (See
footnote 4 below)
Units of work based upon 2% of gas meter inventory in service less the number of meters handled by CMT:
| 2% of Meter inventory |  | 2351
| CMT Meters (revenue-risk) |  | 340
| GWST Meter Sampling |  | 2011
3) Based upon sample size of 5% for each meter kind and size, rounded to nearest whole meter, purchased in FY08.
Gas meters purchased in FY08: |  | 3167
QC Sample Qty. |  | 170
4) Broadband Study Measures: | WAVG Units/Yr. FY04-FY06 |  |  | 954
| WAVG Minutes/Yr. FY04-FY06 |  |  | 40837
| WAVG Minutes/Order FY04-FY06 |  |  | 43
Water Meter Program
| # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
Age Based | 94 |  |  |  | 20706
CMT | 85 | 120 | 10200 | 2 | 20400
GWST | 9 | 34 | 306 | 1 | 306
Revenue Risk Based | # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
1) 6 mos. | 140 | 312 | 87360 | 2 | 174720
1) 12 mos. | 200 | 312 | 62400 | 2 | 124800
Subtotal-Water | 340 |  | 149760 |  | 299520
FTE Equivalent |  |  |  |  | 4
| # Meters | Min/Unit | Tot. Min. | Crew Multiplier | Total Annual Minutes
2) Sample Based | 999 |  |  |  | 43854
4) CMT | 48 | 120 | 5760 | 2 | 11520
GWST | 951 | 34 | 32334 | 1 | 32334
3) Quality Assurance Based | 38 | NA | NA | NA
Water Meter Program
Footnotes:
1) Tasks to be performed during each inspection (water):
Valve Operability
Connect Portable Water Prover
Perform Test (High Flow, Medium Flow, and Low Flow)
Adjust meter (clean strainer, replace parts, as needed based upon proof results)
Retest after Adjusting Meter
Test ERT
| Range of Effort: |  | 100% | All Meters | 120 | to | 360
| Assume 80% worst case/20% best case in year 1 |  |  |  | # Meters | Min/Unit | Tot. Min.
|  |  |  | All Meter Best (6) | 28 | 120 | 3360
|  |  |  | All Meter Worst (6) | 112 | 360 | 40320
|  |  |  | All Meter Best (12) | 40 | 120 | 4800
|  |  |  | All Meter Worst (12) | 160 | 360 | 57600
|  |  |  | Total Minutes | 340 |  | 106080
[5 empty] | WAVG Min/Unit |  | 312
Determine Tools and Equipment once FTEs determined.
2) Minutes of worked based upon weighted average of actual minutes of work for water meter
changes in Fys 04-06. This work is already performed by GWSTs and will not be incremental to our staff model.
Standard Unit Time (min). | 34 | Weighted average from completed meter change order history for Broadband Program analysis.
Units of work based upon 2% of water meter inventory in service less the number of meters handled by CMT:
| 2% of Meter inventory |  |  | 1339
| CMT Meters (revenue-risk and sampling) |  |  | 388
| GWST Meter Sampling |  |  | 951
Water Meter Program
Footnotes (cont.):
3) Based upon sample size of 5% for each meter kind and size, rounded to nearest whole meter, purchased in FY08.
Water Meters Purchased FY08: |  | 158
QC Sample Qty. |  | 38
4) CMTs work on > 1.5" meters. Sample size is sum of meters > 2" minus meters included in 6 and 12 mos. testing intervals.
Size | # Meters | Less DC Meters | Net Meters for Sampling | CMT Risk Based | CMT Sample-Based | CMT Sample Size (@ 2%) | AWWA Test Interval (Yrs) | No. Tested Annually | Annual Minutes Required
8" | 392 | 289 | 103 |  |  |  | 1 | 392 | 47040
6" | 679 | 519 | 160 |  |  |  | 1 | 679 | 81480
4" | 390 | 218 | 172 |  |  |  | 2 | 195 | 23400
3" | 154 | 30 | 124 |  |  |  | 3 | 51.3333 | 6160
2" | 1024 | 42 | 982 |  |  |  | 4 | 256 | 30720
1.5" | 1151 | 0 | 1151
Total | 3790 | 1098 | 2692 | 340 | 2352 | 48 |  | 1573.3333 | 188800
Standard Unit Time (min). | 120 | From Advantex Order Standard
5) Broadband Study Measures: | WAVG Units/Yr. FY04-FY06 |  |  | 1257
| WAVG Minutes/Yr. FY04-FY06 |  |  | 41553
| WAVG Minutes/Order FY04-FY06 |  |  | 34
Meter Shop Tests | Y1 | Y2 | Y3 | Y4 | Y5
Gas
Age-Based | 688.6667 | 688.6667 | 688.6667
Sample-Based | 2011 | 2051.22 | 2092.2444 | 2134.0893 | 2176.7711
QA-Based | 170 | 173.4 | 176.868 | 180.4054 | 184.0135
Water
Age-Based | 94 | 0 | 0 | 0 | 0
Sample-Based | 951 | 955.755 | 960.5338 | 965.3364 | 970.1631
QA-Based | 38 | 38.19 | 38.3809 | 38.5729 | 38.7657
1) Total Shop Tests | 3952.6667 | 3907.2317 | 3956.6938 | 3318.4039 | 3369.7134
Gas | 2869.6667 | 2913.2867 | 2957.7791 | 2314.4946 | 2360.7845
Water | 1083 | 993.945 | 998.9147 | 1003.9093 | 1008.9288
Footnotes:
1) Estimate 2 shop FTEs | 176000 | min.

## CMT Salary
Commercial Meter Tech Salaries (As of Feb 2012)
Employee Name | Pay Date | Fund | Agency | Activity | Reg. Hrs | Reg. Pay
BARKER III JUDSON PU | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 820.14
|  | 52 | 968 | 9145 | 16 | 268.9
|  | 53 | 968 | 9145 | 15.2 | 255.46
BEST EDGAR K | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 826.87
|  | 52 | 968 | 9145 | 16 | 271.1
|  | 53 | 968 | 9145 | 15.2 | 257.57
EDWARDS SR SYLVESTER H | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 818.07
|  | 52 | 968 | 9145 | 16 | 268.21
|  | 53 | 968 | 9145 | 15.2 | 254.83
HENRY ANTOINE R | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 884.28
|  | 52 | 968 | 9145 | 16 | 289.92
|  | 53 | 968 | 9145 | 15.2 | 275.45
KENNEDY JARRED | 2012-02-17 | 51 | 968 | 9145 | 48.79 | 822.83
|  | 52 | 968 | 9145 | 16 | 269.78
|  | 53 | 968 | 9145 | 15.21 | 256.31
KING MICHAEL W | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 1015.41
|  | 52 | 968 | 9145 | 16 | 332.92
|  | 53 | 968 | 9145 | 15.2 | 316.28
SMITH LARRY G | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 835.08
|  | 52 | 968 | 9145 | 16 | 273.79
TERRY III OSBY H |  | 53 | 968 | 9145 | 15.2 | 260.13
| 2012-02-17 | 51 | 968 | 9145 | 48.8 | 823.42
|  | 52 | 968 | 9145 | 16 | 269.97
|  | 53 | 968 | 9145 | 15.2 | 256.5
TUTTLE ROBERT S | 2012-02-17 | 51 | 968 | 9145 | 48.8 | 884.28
|  | 52 | 968 | 9145 | 16 | 289.93
|  | 53 | 968 | 9145 | 15.2 | 275.44
HENDERSON KEVIN M | 2012-02-17 | 51 | 968 | 9150 | 48.8 | 820.14
|  | 52 | 968 | 9150 | 16 | 268.9
|  | 53 | 968 | 9150 | 15.2 | 255.46
Count = 10 |  |  |  |  | 800 | 14017.37
Summary
14017.37 |  | Per Pay Period
26
364451.62 |  | Per Year
10
36445.162 |  | Average Weighted Salary Per Year
2080
17.5217 |  | Average Weighted Salary Per Hour

## GWST FY12 Order Volume
SERVICES AND METERS
PRODUCTIVITY REPORTS ( By TYPE )
2011-07-01 00:00:00 To 2012-06-30 23:59:59
TYPE | DESCRIPTION | ORDERS | TOT RIDE TIME | AVG RIDE TIME | TOT WORK TIME | AVG WORK TIME | TOT ORDER MIN. | TOT TIME / 360
AAMR | ATTACH AMR/ERT | 7 | 282 | 40.29 | 317 | 45.29 | 599 | 1.66
AERT | ATTACH ERT | 13 | 387 | 29.77 | 536 | 41.23 | 923 | 2.56
BMAN | BUILD MANIFOLD | 2 | 0 | 0 | 7 | 3.5 | 7 | 0.02
CBTL | CURB TOP / LID | 52 | 370 | 7.12 | 627 | 12.06 | 997 | 2.77
CCBT | CHANGE CORRECTOR BATTERY | 54 | 716 | 13.26 | 1700 | 31.48 | 2416 | 6.71
CHGM | CHANGE METER | 1815 | 23902 | 13.17 | 70790 | 39 | 94692 | 263.03
CHGR | CHANGE REGULATOR | 105 | 1651 | 15.72 | 4111 | 39.15 | 5762 | 16.01
CHLP | CHANGE LAMP | 1 | 0 | 0 | 1 | 1 | 1 | 0
CKLT | CHECK ADJ/LITE APPL | 1689 | 21353 | 12.64 | 25695 | 15.21 | 47048 | 130.69
CKML | CHECK METER NUMBER/LOCATION | 94 | 850 | 9.04 | 1477 | 15.71 | 2327 | 6.46
CKPR | CHECK PRESSURE | 269 | 3359 | 12.49 | 8601 | 31.97 | 11960 | 33.22
CKUS | CHECK USE | 86 | 821 | 9.55 | 1715 | 19.94 | 2536 | 7.04
COIM | CONSUMPTION ON IDLE METER | 401 | 3408 | 8.5 | 4911 | 12.25 | 8319 | 23.11
CTCO | CONNECT TEL LINE TO CORRECTOR | 19 | 358 | 18.84 | 1565 | 82.37 | 1923 | 5.34
DELQ | OFF DELINQUENT | 18795 | 81945 | 4.36 | 128222 | 6.82 | 210167 | 583.8
DEQM | MANUAL OFF DELINQUENT | 3951 | 30888 | 7.82 | 38507 | 9.75 | 69395 | 192.76
DERT | DETACH ERT | 8 | 7 | 0.88 | 49 | 6.13 | 56 | 0.16
DETO | DELINQUENT EXCEPTION TURN ON | 1 | 7 | 7 | 20 | 20 | 27 | 0.08
GCKP | CHECK PRESSURE GAS | 1 | 28 | 28 | 0 | 0 | 28 | 0.08
GLBG | GLOBE LEANING | 1 | 0 | 0 | 1 | 1 | 1 | 0
GLCB | GWD-LOCATE CURB BOX | 2 | 88 | 44 | 5 | 2.5 | 93 | 0.26
GLET | GAS LEAK EMERGENCY - MEET TECH | 1 | 0 | 0 | 100 | 100 | 100 | 0.28
GLGF | GWD-RESPOND TO FIRE | 1 | 17 | 17 | 40 | 40 | 57 | 0.16
GLGO | GWD-GAS LEAK - OUTSIDE | 366 | 5518 | 15.08 | 17758 | 48.52 | 23276 | 64.66
GLMF | GWD-MEET FIRE DEPARTMENT | 1 | 0 | 0 | 3 | 3 | 3 | 0.01
GLMT | REPAIR LEAK AT METER | 84 | 716 | 8.52 | 2957 | 35.2 | 3673 | 10.2
GLWO | GWD-WATER LEAK - OUTSIDE | 119 | 3005 | 25.25 | 4481 | 37.66 | 7486 | 20.79
GOIN | GWD-OTHER INVESTIGATION WORK | 1 | 0 | 0 | 3 | 3 | 3 | 0.01
GORM | GWD-OTHER MISC WORK | 1 | 33 | 33 | 3 | 3 | 36 | 0.1
GORP | GWD-OTHER REPAIRS | 217 | 3081 | 14.2 | 4724 | 21.77 | 7805 | 21.68
GORR | GWD-OTHER REPLACEMENTS | 2 | 12 | 6 | 19 | 9.5 | 31 | 0.09
GPLK | REPAIR LEAK | 66 | 840 | 12.73 | 1638 | 24.82 | 2478 | 6.88
GSET | GWD - SET METER | 1 | 26 | 26 | 0 | 0 | 26 | 0.07
GSWN | GWD-SEE WHY NO SERVICE | 10 | 198 | 19.8 | 356 | 35.6 | 554 | 1.54
GWSL | GWD-WATER IN LOW PRES SVC | 1 | 0 | 0 | 42 | 42 | 42 | 0.12
HIBI | HIGH BILL CHECK | 567 | 6885 | 12.14 | 16462 | 29.03 | 23347 | 64.85
HPCP | HIGH PRIORITY - CHECK PRESSURE GAS | 660 | 8642 | 13.09 | 20681 | 31.33 | 29323 | 81.45
IARM | INSTALL ARMORCAST LID | 10 | 134 | 13.4 | 73 | 7.3 | 207 | 0.58
ILKS | INSTALL LOCK / SEAL | 7 | 83 | 11.86 | 62 | 8.86 | 145 | 0.4
INCO | INSTALL CORRECTOR | 2 | 0 | 0 | 28 | 14 | 28 | 0.08
INRS | INSTALL RESETTER | 22 | 789 | 35.86 | 1812 | 82.36 | 2601 | 7.23
INWK | OTHER INVESTIGATION WORK | 594 | 6062 | 10.21 | 9672 | 16.28 | 15734 | 43.71
LCCN | LOCATE CONNECTION | 8 | 114 | 14.25 | 61 | 7.63 | 175 | 0.49
LCMN | LOCATE MAIN | 1 | 0 | 0 | 1 | 1 | 1 | 0
LCRD | LOCATE AND READ METER | 158 | 2302 | 14.57 | 2235 | 14.15 | 4537 | 12.6
LCSW | LOCATE SEWER | 3 | 81 | 27 | 70 | 23.33 | 151 | 0.42
LKCM | CHECK FOR CARBON MONOXIDE | 190 | 2229 | 11.73 | 4853 | 25.54 | 7082 | 19.67
LKGF | RESPOND TO FIRE | 3 | 21 | 7 | 80 | 26.67 | 101 | 0.28
LKGI | GAS LEAK - INSIDE | 2538 | 30679 | 12.09 | 83491 | 32.9 | 114170 | 317.14
LKGO | GAS LEAK - OUTSIDE | 2053 | 26352 | 12.84 | 87711 | 42.72 | 114063 | 316.84
LKMF | MEET FIRE DEPARTMENT | 41 | 377 | 9.2 | 1501 | 36.61 | 1878 | 5.22
LKWI | WATER LEAK - INSIDE | 386 | 4364 | 11.31 | 7872 | 20.39 | 12236 | 33.99
LKWO | WATER LEAK - OUTSIDE | 1434 | 15716 | 10.96 | 31696 | 22.1 | 47412 | 131.7
LOCB | LOCATE CURB BOX | 737 | 7629 | 10.35 | 8171 | 11.09 | 15800 | 43.89
LTBL | LIGHT BLINKING | 10 | 0 | 0 | 11 | 1.1 | 11 | 0.03
LTDN | LIGHT-UP SHUTDOWN | 4735 | 39967 | 8.44 | 65959 | 13.93 | 105926 | 294.24
METP | MEET PUBLIC | 1186 | 14814 | 12.49 | 29922 | 25.23 | 44736 | 124.27
MINS | INSPECT METER | 516 | 7522 | 14.58 | 13304 | 25.78 | 20826 | 57.85
MOTR | MISC. OTHER REPAIRS | 14 | 3 | 0.21 | 15 | 1.07 | 18 | 0.05
MUG0 | MISS UTIL LOCATE G/W - EMER | 137 | 567 | 4.14 | 1260 | 9.2 | 1827 | 5.08
MUG1 | MISS UTIL LOCATE G/W - 3 | 24 | 26 | 1.08 | 285 | 11.88 | 311 | 0.86
MUG2 | MISS UTIL LOCATE G/W - 48 | 3454 | 227 | 0.07 | 4177 | 1.21 | 4404 | 12.23
NCAM | NO CONSUMPTION ON ACTIVE METER | 5666 | 47941 | 8.46 | 73863 | 13.04 | 121804 | 338.34
NCON | INVESTIGATE CONNECTION BACKUP | 1 | 13 | 13 | 28 | 28 | 41 | 0.11
NERT | NON RESPONSIVE ERT | 7515 | 52716 | 7.01 | 96357 | 12.82 | 149073 | 414.09
NRAW | INVESTIGATE RAW SEWAGE | 21 | 329 | 15.67 | 672 | 32 | 1001 | 2.78
NRCL | INVESTIGATE RAW SEWAGE - CLEANOUT | 3 | 30 | 10 | 19 | 6.33 | 49 | 0.14
NRCN | INVESTIGATE RAW SEWAGE - CONNECTION | 10 | 91 | 9.1 | 353 | 35.3 | 444 | 1.23
NRMN | INVESTIGATE RAW SEWAGE - MAIN | 3 | 72 | 24 | 191 | 63.67 | 263 | 0.73
NSWR | INVESTIGATE SEWER BACKUP | 1194 | 20765 | 17.39 | 40135 | 33.61 | 60900 | 169.17
NVCI | INVESTIGATE SINK HOLE/CAVE-IN | 183 | 2860 | 15.63 | 2588 | 14.14 | 5448 | 15.13
NVMH | INVESTIGATE MISSING/BROKEN MANHOLE | 110 | 1687 | 15.34 | 1640 | 14.91 | 3327 | 9.24
NVSO | INVESTIGATE SEWER ODOR | 105 | 1572 | 14.97 | 1941 | 18.49 | 3513 | 9.76
ODWF | ON DELINQUENT WAIVE FEE | 7424 | 71347 | 9.61 | 101093 | 13.62 | 172440 | 479
OFFL | OFF FINAL/MOVE OUT CUSTOMER | 12082 | 85944 | 7.11 | 88295 | 7.31 | 174239 | 484
OFFM | OFF MISCELLANEOUS | 135 | 993 | 7.36 | 1512 | 11.2 | 2505 | 6.96
ONDQ | ON - DELINQUENT | 5629 | 57568 | 10.23 | 79807 | 14.18 | 137375 | 381.6
ONNC | ON NEW CONSUMER | 39395 | 320823 | 8.14 | 376786 | 9.56 | 697609 | 1937.8
ONWF | TURN ON - WAIVE FEE | 1968 | 18671 | 9.49 | 30588 | 15.54 | 49259 | 136.83
OTHR | OTHER MISC WORK | 138 | 1953 | 14.15 | 3326 | 24.1 | 5279 | 14.66
OTRP | OTHER REPAIRS | 702 | 9244 | 13.17 | 23917 | 34.07 | 33161 | 92.11
OTRR | OTHER REPLACEMENTS | 2 | 9 | 4.5 | 30 | 15 | 39 | 0.11
PLHT | POLE HIT | 83 | 8 | 0.1 | 120 | 1.45 | 128 | 0.36
RDMT | READ METER | 6899 | 58494 | 8.48 | 64197 | 9.31 | 122691 | 340.81
RERM | REPAIR ERT - MR | 673 | 5424 | 8.06 | 8428 | 12.52 | 13852 | 38.48
RERT | REPAIR ERT | 497 | 5208 | 10.48 | 9136 | 18.38 | 14344 | 39.84
RGLP | REPAIR GAS LIGHT | 98 | 765 | 7.81 | 1171 | 11.95 | 1936 | 5.38
RLGS | RENEW LEAD OR GALVANIZED SERVICE | 4 | 4 | 1 | 0 | 0 | 4 | 0.01
RLKS | REMOVE LOCK / SEAL | 269 | 3530 | 13.12 | 6081 | 22.61 | 9611 | 26.7
RLM1 | REPAIR GRADE 1 GAS LEAK - METER | 14 | 262 | 18.71 | 1115 | 79.64 | 1377 | 3.83
RLM2 | REPAIR GRADE 2 GAS LEAK - METER | 10 | 244 | 24.4 | 618 | 61.8 | 862 | 2.39
RLM3 | REPAIR GRADE 3 GAS LEAK - METER | 263 | 3486 | 13.25 | 7847 | 29.84 | 11333 | 31.48
RLMO | REPAIR OUTLET LEAK AT METER | 7 | 65 | 9.29 | 80 | 11.43 | 145 | 0.4
RLMT | REPAIR LEAK AT METER | 1264 | 10366 | 8.2 | 23206 | 18.36 | 33572 | 93.26
RMCO | REMOVE CORRECTOR | 3 | 33 | 11 | 437 | 145.67 | 470 | 1.31
RMMT | REMOVE METER | 2259 | 18176 | 8.05 | 28780 | 12.74 | 46956 | 130.43
RMOD | REPLACE MODULE | 2 | 43 | 21.5 | 437 | 218.5 | 480 | 1.33
RMRT | REMOVE RED TAG | 2 | 33 | 16.5 | 32 | 16 | 65 | 0.18
RMTD | REMOVE METER DELQ | 419 | 3171 | 7.57 | 5636 | 13.45 | 8807 | 24.46
RPCO | REPROGRAM CORRECTOR | 6 | 180 | 30 | 509 | 84.83 | 689 | 1.91
RPLK | REPAIR LEAK | 47 | 398 | 8.47 | 891 | 18.96 | 1289 | 3.58
RPMT | REPAIR METER | 3 | 60 | 20 | 150 | 50 | 210 | 0.58
RRAW | REPAIR/REPLACE APPL WORK | 3 | 80 | 26.67 | 93 | 31 | 173 | 0.48
RRCO | REPAIR/REPLACE CORRECTOR | 5 | 181 | 36.2 | 298 | 59.6 | 479 | 1.33
RRFH | REPAIR/REPLACE FIRE HYDRANT | 194 | 3898 | 20.09 | 5009 | 25.82 | 8907 | 24.74
RRMF | REPAIR/REPLACE MANIFOLD | 6 | 19 | 3.17 | 82 | 13.67 | 101 | 0.28
RRMT | RE-READ METER - CHARGEABLE | 8 | 116 | 14.5 | 131 | 16.38 | 247 | 0.69
RROF | REPAIR/REPLACE FIRELINE | 4 | 30 | 7.5 | 273 | 68.25 | 303 | 0.84
RRRG | REPAIR/REPLACE REGISTER(S) | 20 | 221 | 11.05 | 136 | 6.8 | 357 | 0.99
RRRL | REPAIR/REPLACE REGULATOR | 13 | 533 | 41 | 1111 | 85.46 | 1644 | 4.57
RRSC | REPAIR/REPLACE STOPCOCK | 2 | 5 | 2.5 | 24 | 12 | 29 | 0.08
RRTL | REPAIR/REPLACE TOP LID | 325 | 3131 | 9.63 | 3543 | 10.9 | 6674 | 18.54
RRVB | REPAIR/REPLACE GAS VALVE BOX | 2 | 71 | 35.5 | 57 | 28.5 | 128 | 0.36
RRVL | REPAIR/REPLACE VALVE | 25 | 713 | 28.52 | 344 | 13.76 | 1057 | 2.94
RRWB | REPAIR/REPLACE WATER BOX | 17 | 50 | 2.94 | 321 | 18.88 | 371 | 1.03
RSBX | RAISE BOX | 82 | 745 | 9.09 | 1501 | 18.3 | 2246 | 6.24
RSDQ | RESET METER - DELINQUENT | 298 | 3148 | 10.56 | 7092 | 23.8 | 10240 | 28.44
RSET | RESET METER | 1847 | 19367 | 10.49 | 47520 | 25.73 | 66887 | 185.8
RSVB | RAISE VALVE BOX | 89 | 1489 | 16.73 | 874 | 9.82 | 2363 | 6.56
RWVB | REPAIR/REPLACE WATER VALVE BOX | 11 | 437 | 39.73 | 390 | 35.45 | 827 | 2.3
SETM | SET METER | 1484 | 20076 | 13.53 | 38964 | 26.26 | 59040 | 164
SLIV | STREET LIGHT INVESTIGATION | 34 | 61 | 1.79 | 43 | 1.26 | 104 | 0.29
SLNC | SEASONAL LIGHTUP - NO CHARGE | 276 | 3087 | 11.18 | 5330 | 19.31 | 8417 | 23.38
SLOT | STREET LIGHT OUT | 417 | 40 | 0.1 | 696 | 1.67 | 736 | 2.04
SLUP | SEASONAL LIGHT-UP | 195 | 2443 | 12.53 | 3506 | 17.98 | 5949 | 16.53
SOFF | OFF HEAT SEASONAL | 460 | 4180 | 9.09 | 3241 | 7.05 | 7421 | 20.61
STLP | SLAVE TRAIL LIGHT PROJECT | 1 | 0 | 0 | 10 | 10 | 10 | 0.03
STOL | UTILITIES INVESTIGATION | 4471 | 32989 | 7.38 | 19524 | 4.37 | 52513 | 145.87
SWNS | SEE WHY NO SERVICE | 541 | 5795 | 10.71 | 9677 | 17.89 | 15472 | 42.98
TOMS | TURN ON MISC. | 647 | 6858 | 10.6 | 11629 | 17.97 | 18487 | 51.35
TSMT | TEST METER | 12 | 319 | 26.58 | 1480 | 123.33 | 1799 | 5
TVLT | TV LATERAL | 14 | 313 | 22.36 | 342 | 24.43 | 655 | 1.82
UNST | UNSTOP | 20 | 368 | 18.4 | 475 | 23.75 | 843 | 2.34
WRDN | WIRE DOWN | 65 | 5 | 0.08 | 177 | 2.72 | 182 | 0.51
XMTR | CHECK FOR CROSSED METERS | 147 | 859 | 5.84 | 2418 | 16.45 | 3277 | 9.1
|  | 154570 | 1275656 | 8.25 | 1960769 | 12.69 | 3236425 | 8990.07