Configure Temperature Controller:

- Connect the USB to TTL serial cable to the Unit (See below)

USB to TTL Serial Connection:

1 – Vcc [Red]

2 – GND [Black]

3 – RX [Green]

4 – Tx [White]

- Run Config Tool Software [Config7Sement.exe]

- Select the Serial Port

- Configure the Temperature Controller by changing the Parameters [High Alarm Limit, Low Alarm Limit, Hysterese and output type. Set Configuration

- Test Controller